## RW_AI
G1E1W01LT001 | Cream Mixing, Mix Tank, level transmitter
G1E1W01TT001 | Cream Mixing, Mix Tank, temperature transmitter
G1E1W04LT001 | Cream flaker tank, level transmitter
G1E1W04TT001 | Cream flaker tank, temperature transmitter
G1E1W06FT101 | Cream Mixing, Water heater, water flow meter
G1E1W06FT111 | Cream Mixing, Process water, flow meter
G1E1W06TT101 | Cream Mixing, Water heater, water temperature transmitter
G1E1W11FT101 | Cream mixing, Circulation line, flow meter
G1E2W01LT001 | Cream Storage TK1, level transmitter
G1E2W01TT001 | Cream Storage TK1, temperature transmitter
G1E2W02LT001 | Cream Storage TK2, level transmitter
G1E2W02TT001 | Cream Storage TK2, temperature transmitter
G1E2W06TT101 | Cream storage, Cooler, temperature transmitter
G1Q1W01LT001 | CIP1, Fresh water tank, level transmitter
G1Q1W02LT001 | CIP1, Hot water tank, level transmitter
G1Q1W02TT001 | CIP1, Hot water tank, temperature transmitter
G1Q1W03LT001 | CIP1, Acid tank, level transmitter
G1Q1W03TT001 | CIP1, Acid tank, temperature transmitter
G1Q1W04LT001 | CIP1, Caustic tank, level transmitter
G1Q1W04TT001 | CIP1, Caustic tank, temperature transmitter
G1Q1W11CT101 | CIP1, CIP-R line 1, conductivity
G1Q1W11FT201 | CIP1, CIP-S line 1, flow meter
G1Q1W11PT201 | CIP1, CIP-S line 1, pressure transmitter
G1Q1W11TT101 | CIP1, CIP-R line 1, temperature transmitter
G1Q1W12CT101 | CIP1, CIP-R line 2, conductivity
G1Q1W12FT201 | CIP1, CIP-S line 2, flow meter
G1Q1W12PT201 | CIP1, CIP-S line 2, pressure transmitter
G1Q1W12TT101 | CIP1, CIP-R line 2, temperature transmitter
G1Q1W12TT201 | CIP1, CIP-S line 2, temperature transmitter
G1Q1W13CT101 | CIP1, CIP-R line 3, conductivity
G1Q1W13FT201 | CIP1, CIP-S line 3, flow meter
G1Q1W13PT201 | CIP1, CIP-S line 3, pressure transmitter
G1Q1W13TT101 | CIP1, CIP-R line 3, temperature transmitter
G1Q1W13TT201 | CIP1, CIP-S line 3, temperature transmitter
G1Q1W14CT101 | CIP1, CIP-R line 4, conductivity
G1Q1W14FT201 | CIP1, CIP-S line 4, flow meter
G1Q1W14PT201 | CIP1, CIP-S line 4, pressure transmitter
G1Q1W14TT101 | CIP1, CIP-R line 4, temperature transmitter
G1Q1W14TT201 | CIP1, CIP-S line 4, temperature transmitter
G1Q2W01LT001 | CIP2, Fresh water tank, level transmitter
G1Q2W03LT001 | CIP2, Acid tank, level transmitter
G1Q2W03TT001 | CIP2, Acid tank, temperature transmitter
G1Q2W04LT001 | CIP2, Caustic tank, level transmitter
G1Q2W04TT001 | CIP2, Caustic tank, temperature transmitter
G1Q2W11CT101 | CIP2, CIP-R line 1, conductivity
G1Q2W11FT201 | CIP2, CIP-S line 1, flow meter
G1Q2W11PT201 | CIP2, CIP-S line 1, pressure transmitter
G1Q2W11TT101 | CIP2, CIP-R line 1, temperature transmitter
G1Q2W11TT201 | CIP2, CIP-S line 1, temperature transmitter
G1Q2W12CT101 | CIP2, CIP-R line 2, conductivity
G1Q2W12FT201 | CIP2, CIP-S line 2, flow meter
G1Q2W12PT201 | CIP2, CIP-S line 2, pressure transmitter
G1Q2W12TT101 | CIP2, CIP-R line 2, temperature transmitter
G1Q2W12TT201 | CIP2, CIP-S line 2, temperature transmitter
G1Q2W13CT101 | CIP2, CIP-R line 3, conductivity
G1Q2W13FT201 | CIP2, CIP-S line 3, flow meter
G1Q2W13PT201 | CIP2, CIP-S line 3, pressure transmitter
G1Q2W13TT101 | CIP2, CIP-R line 3, temperature transmitter
G1Q2W13TT201 | CIP2, CIP-S line 3, temperature transmitter
G2E1W01LT001 | Juice Mixing, Mix Tank, level transmitter
G2E1W01TT001 | Juice Mixing, Mix Tank, temperature transmitter
G2E1W06FT101 | Juice Mixing, Water heater, water flow meter
G2E1W06FT111 | Juice Mixing, Process water, flow meter
G2E1W06TT101 | Juice Mixing, Water heater, water temperature transmitter
G2E1W11FT101 | Juice mixing, Circulation line, flow meter
G2E2W01LT001 | Juice Storage TK1, level transmitter
G2E2W01TT001 | Juice Storage TK1, temperature transmitter
G2E2W02LT001 | Juice Storage TK2, level transmitter
G2E2W02TT001 | Juice Storage TK2, temperature transmitter
G2E2W03LT001 | Juice Storage TK3, level transmitter
G2E2W03TT001 | Juice Storage TK3, temperature transmitter
G2E2W06TT101 | Juice storage, Cooler, temperature transmitter

## RW_AO
G1E1W06CV101 | Cream Mixing, Water heater, water control valve
G1E1W06CV301 | Cream Mixing, Water heater, steam control valve
G1E2W06CV401 | Cream storage, Cooler, glycol control valve
G1E2W06CV402 | Cream storage, Cooler, glycol bypass valve
G1Q1W12CV301 | CIP1, CIP-S line 2, steam control valve
G1Q1W13CV301 | CIP1, CIP-S line 3, steam control valve
G1Q1W14CV301 | CIP1, CIP-S line 4, steam control valve
G1Q2W11CV301 | CIP2, CIP-S line 1, steam control valve
G1Q2W12CV301 | CIP2, CIP-S line 2, steam control valve
G1Q2W13CV301 | CIP2, CIP-S line 3, steam control valve
G2E1W06CV101 | Juice Mixing, Water heater, water control valve
G2E1W06CV301 | Juice Mixing, Water heater, steam control valve
G2E2W06CV401 | Juice storage, Cooler, glycol control valve
G2E2W06CV402 | Juice storage, Cooler, glycol bypass valve

## RW_DI
G1E1W01LS001 | Cream Mixing, Mix Tank, high level switch
G1E1W04PX501 | Cream flaker tank, CIP-S proxi at FP501
G1E1W04PX502 | Cream flaker tank, CIP-S proxi at FP501
G1E1W04PX503 | Cream flaker tank, CIP-S proxi at FP501
G1E1W04PX504 | Cream flaker tank, CIP-S proxi at FP501
G1E1W05PB001 | Cream mixing, AMF, start button
G1E1W05PB002 | Cream mixing, AMF, stop button
G1E2W01LS001 | Cream Storage TK1, high level switch
G1E2W01PX001 | Cream Storage TK1, man way proximity
G1E2W02LS001 | Cream Storage TK2, high level switch
G1E2W02PX001 | Cream Storage TK2, man way proximity
G1E2W04PX501 | Cream Storage area, CIP-S proxi at FP501
G1E2W04PX502 | Cream Storage area, CIP-S proxi at FP501
G1E2W04PX503 | Cream Storage area, CIP-S proxi at FP501
G1E2W04PX504 | Cream Storage area, CIP-S proxi at FP501
G1Q1W01LS001 | CIP1, Fresh water tank, low level switch
G1Q1W01PX001 | CIP1, Fresh water tank, manway proximity
G1Q1W02LS001 | CIP1, Hot water tank, low level switch
G1Q1W02PX001 | CIP1, Hot water tank, manway proximity
G1Q1W03LS001 | CIP1, Acid tank, low level switch
G1Q1W03PX001 | CIP1, Acid tank, manway proximity
G1Q1W04LS001 | CIP1, Caustic tank, low level switch
G1Q1W04PX001 | CIP1, Caustic tank, manway proximity
G1Q1W11FS101 | CIP1, CIP-R line 1, flow switch
G1Q1W12FS101 | CIP1, CIP-R line 2, flow switch
G1Q1W13FS101 | CIP1, CIP-R line 3, flow switch
G1Q1W14FS101 | CIP1, CIP-R line 4, flow switch
G1Q2W01LS001 | CIP2, Fresh water tank, low level switch
G1Q2W01PX001 | CIP2, Fresh water tank, manway proximity
G1Q2W03LS001 | CIP2, Acid tank, low level switch
G1Q2W03PX001 | CIP2, Acid tank, manway proximity
G1Q2W04LS001 | CIP2, Caustic tank, low level switch
G1Q2W04PX001 | CIP2, Caustic tank, manway proximity
G1Q2W11FS101 | CIP2, CIP-R line 1, flow switch
G1Q2W12FS101 | CIP2, CIP-R line 2, flow switch
G1Q2W13FS101 | CIP2, CIP-R line 3, flow switch
G2E1W01LS001 | Juice Mixing, Mix Tank, high level switch
G2E1W04PX501 | Juice CIP flow plate, CIP-S proxi at FP501
G2E1W04PX502 | Juice CIP flow plate, CIP-S proxi at FP501
G2E1W04PX503 | Juice CIP flow plate, CIP-S proxi at FP501
G2E1W04PX504 | Juice CIP flow plate, CIP-S proxi at FP501
G2E1W05PB001 | Juice mixing, Concentrate juice, start button
G2E1W05PB002 | Juice mixing, Concentrate juice, stop button
G2E2W01LS001 | Juice Storage TK1, high level switch
G2E2W01PX001 | Juice Storage TK1, man way proximity
G2E2W02LS001 | Juice Storage TK2, high level switch
G2E2W02PX001 | Juice Storage TK2, man way proximity
G2E2W03LS001 | Juice Storage TK3, high level switch
G2E2W03PX001 | Juice Storage TK3, man way proximity
G2E2W04LS001 | Juice Storage, Particle tank, low level switch
G2E2W04PB001 | Juice Storage, Particle tank, start button
G2E2W04PB002 | Juice Storage, Particle tank, stop button
G2E2W04PX001 | Juice Storage, Particle tank, manway proximity
G2E2W04PX501 | Juice Storage area, CIP-S proxi at FP501
G2E2W04PX502 | Juice Storage area, CIP-S proxi at FP501
G2E2W04PX503 | Juice Storage area, CIP-S proxi at FP501
G2E2W04PX504 | Juice Storage area, CIP-S proxi at FP501

## RW_DO
G1E1W04SV120 | Cream flaker tank, seal water valve
G1E1W11SV120 | Cream mixing, Circulation line, seal water valve
G1E1W11SV130 | Cream mixing, seal water valve
G1E1W12SV120 | Cream mixing, transfer line, seal water valve
G1E2W12SV120 | Cream storage, transfer line, seal water valve
G1Q1W05SV231 | CIP1, Concentrate chamical,
G1Q1W05SV241 | CIP1, Concentrate chamical,
G2E1W11SV120 | Juice mixing, Circulation line, seal water valve
G2E1W11SV130 | Juice mixing, seal water valve
G2E1W12SV120 | Juice mixing, transfer line, seal water valve
G2E2W12SV120 | Juice storage, transfer line, seal water valve

## RW_Motor
G1E1W01AG001 | Cream Mixing, Mix Tank, agitator
G1E1W04AG001 | Cream flaker tank, agitator
G1E1W04PU101 | Cream flaker tank, transfer pump
G1E1W05PU101 | Cream mixing, AMF, transfer pump
G1E1W11PU101 | Cream mixing, Circulation line, transfer pump
G1E1W11PU102 | Cream mixing, Circulation line, vacuum pump
G1E1W11PU103 | Cream mixing, Circulation line, mixer
G1E1W12PU101 | Cream mixing, transfer line, transfer pump
G1E2W01AG001 | Cream Storage TK1, agitator
G1E2W02AG001 | Cream Storage TK2, agitator
G1E2W12PU101 | Cream storage, transfer line, transfer pump
G1E2W15PU101 | Cream storage, CIP-R pump
G1Q1W05PU211 | CIP1, Concentrate chamical,
G1Q1W05PU221 | CIP1, Concentrate chamical,
G1Q1W05PU231 | CIP1, Concentrate chamical,
G1Q1W05PU241 | CIP1, Concentrate chamical,
G1Q1W11PU201 | CIP1, CIP-S line 1, CIP pump
G1Q1W12PU201 | CIP1, CIP-S line 2, CIP pump
G1Q1W13PU201 | CIP1, CIP-S line 3, CIP pump
G1Q1W14PU201 | CIP1, CIP-S line 4, CIP pump
G1Q2W11PU201 | CIP2, CIP-S line 1, CIP pump
G1Q2W12PU201 | CIP2, CIP-S line 2, CIP pump
G1Q2W13PU201 | CIP2, CIP-S line 3, CIP pump
G2E1W01AG001 | Juice Mixing, Mix Tank, agitator
G2E1W05PU101 | Juice mixing, Concentrate juice, transfer pump
G2E1W11PU101 | Juice mixing, Circulation line, transfer pump
G2E1W11PU103 | Juice mixing, Circulation line, mixer
G2E1W12PU101 | Juice mixing, transfer line, transfer pump
G2E2W01AG001 | Juice Storage TK1, agitator
G2E2W02AG001 | Juice Storage TK2, agitator
G2E2W03AG001 | Juice Storage TK3, agitator
G2E2W04AG001 | Juice Storage, Particle tank, agitator
G2E2W04PU001 | Juice Storage, Particle tank, transfer pump
G2E2W12PU101 | Juice storage, transfer line, transfer pump
G2E2W15PU101 | Juice storage, CIP-R pump
G2SACWPU10 | Juice hot aseptic tank, circulation pump

## RW_Valve
G1E1W01AV100 | Cream Mixing, Mix Tank, product inlet valve
G1E1W01AV103 | Cream Mixing, Mix Tank, cip pulse valve
G1E1W01AV104 | Cream Mixing, Mix Tank, circulation line flush valve
G1E1W01AV105 | Cream Mixing, Mix Tank, circulation line CIP-R valve
G1E1W01AV120 | Cream Mixing, Mix Tank, product inlet CIP valve
G1E1W01AV121 | Cream Mixing, Mix Tank, sight glass CIP valve
G1E1W01AV122 | Cream Mixing, Mix Tank, mixproof chamber CIP valve
G1E1W01AV130 | Cream Mixing, Mix Tank, hot water valve
G1E1W01AV140 | Cream Mixing, Mix Tank, process water valve
G1E1W01AV200 | Cream Mixing, Mix Tank, outlet valve
G1E1W01AV201 | Cream Mixing, Mix Tank, Circulation line outlet valve
G1E1W01AV202 | Cream Mixing, Mix Tank, transfer line oulet valve
G1E1W01AV203 | Cream Mixing, Mix Tank, flaker filling valve
G1E1W01AV204 | Cream Mixing, Mix Tank, CIP-R valve
G1E1W01AV205 | Cream Mixing, Mix Tank, drain valve
G1E1W01AVSpare1 | Spare valve
G1E1W01AVSpare2 | Spare valve
G1E1W01AVSpare3 | Spare valve
G1E1W01AVSpare4 | Spare valve
G1E1W01AVSpare5 | Spare valve
G1E1W01AVSpare6 | Spare valve
G1E1W04AV104 | Cream flaker tank, transfer line drain valve
G1E1W04AV105 | Cream flaker tank, transfer line CIP-R valve
G1E1W04AV130 | Cream flaker tank, hot water supply valve
G1E1W04AV140 | Cream flaker tank, process water supply valve
G1E1W04AV200 | Cream flaker tank, outlet valve
G1E1W04AV205 | Cream flaker tank, drain vavle for transfer line
G1E1W04AV301 | Cream flaker tank, steam on off valve
G1E1W05AV101 | Cream mixing, AMF, water supply valve
G1E1W05AV102 | Cream mixing, AMF, water n CIP-S valve
G1E1W05AV104 | Cream mixing, AMF, line drain valve
G1E1W05AV105 | Cream mixing, AMF, CIP-R valve
G1E1W06AV102 | Cream Mixing, Water heater, water drain valve
G1E1W06AV301 | Cream Mixing, Water heater, steam on off valve
G1E1W11AV101 | Cream mixing, Circulation line, water supply valve
G1E1W11AV102 | Cream mixing, Circulation line, Water n CIP-S valve
G1E1W11AV103 | Cream mixing, Circulation line, AMF dosing valve
G1E1W12AV101 | Cream mixing, transfer line, water supply valve
G1E1W12AV102 | Cream mixing, transfer line, Water n CIP-S valve
G1E2W01AV121 | Cream Storage TK1, CIP sight glass valve
G1E2W01AV140 | Cream Storage TK1, process water valve
G1E2W01AV200 | Cream Storage TK1, outlet valve
G1E2W01AV201 | Cream Storage TK1, fill from mixing valve
G1E2W01AV202 | Cream Storage TK1, transfer to UHT valve
G1E2W01AV204 | Cream Storage TK1, CIP-R valve
G1E2W01AV205 | Cream Storage TK1, drain valve
G1E2W01AV401 | Cream Storage TK1, glycol supply valve
G1E2W02AV121 | Cream Storage TK2, CIP sight glass valve
G1E2W02AV140 | Cream Storage TK2, process water valve
G1E2W02AV200 | Cream Storage TK2, outlet valve
G1E2W02AV201 | Cream Storage TK2, fill from mixing valve
G1E2W02AV202 | Cream Storage TK2, transfer to UHT valve
G1E2W02AV204 | Cream Storage TK2, CIP-R valve
G1E2W02AV205 | Cream Storage TK2, drain valve
G1E2W02AV401 | Cream Storage TK2, glycol supply valve
G1E2W06AV103 | Cream storage, Cooler, cip pulse valve
G1E2W06AV104 | Cream storage, Cooler, line drain valve
G1E2W06AV105 | Cream storage, Cooler, CIP-R valve
G1E2W06AV401 | Cream storage, Cooler, glycol supply valve
G1E2W12AV101 | Cream storage, transfer line, water supply valve
G1E2W12AV102 | Cream storage, transfer line, Water n CIP-S valve
G1E2W12AV103 | Cream storage, transfer line, cip pulse valve
G1E2W15AV103 | Cream storage, CIP-R, pulse valve
G1Q1W01AV104 | CIP1, Fresh water tank, water valve
G1Q1W01AV140 | CIP1, Fresh water tank, water valve
G1Q1W02AV140 | CIP1, Hot water tank, water valve
G1Q1W03AV001 | CIP1, Acid tank, drain valve
G1Q1W03AV140 | CIP1, Acid tank, water valve
G1Q1W03AV150 | CIP1, Acid tank, acid dosing valve
G1Q1W04AV001 | CIP1, Caustic tank, drain valve
G1Q1W04AV140 | CIP1, Caustic tank, water valve
G1Q1W04AV150 | CIP1, Caustic tank, Caustic dosing valve
G1Q1W05AV211 | CIP1, Concentrate chamical,
G1Q1W05AV221 | CIP1, Concentrate chamical,
G1Q1W11AV100 | CIP1, CIP-R line 1, drain valve
G1Q1W11AV102 | CIP1, CIP-R line 1, hot water valve
G1Q1W11AV103 | CIP1, CIP-R line 1, acid valve
G1Q1W11AV104 | CIP1, CIP-R line 1, caustic valve
G1Q1W11AV201 | CIP1, CIP-S line 1, fresh water valve
G1Q1W11AV202 | CIP1, CIP-S line 1, hot water valve
G1Q1W11AV203 | CIP1, CIP-S line 1, acid valve
G1Q1W11AV204 | CIP1, CIP-S line 1, caustic valve
G1Q1W12AV100 | CIP1, CIP-R line 2, drain valve
G1Q1W12AV102 | CIP1, CIP-R line 2, hot water valve
G1Q1W12AV103 | CIP1, CIP-R line 2, acid valve
G1Q1W12AV104 | CIP1, CIP-R line 2, caustic valve
G1Q1W12AV201 | CIP1, CIP-S line 2, fresh water valve
G1Q1W12AV202 | CIP1, CIP-S line 2, hot water valve
G1Q1W12AV203 | CIP1, CIP-S line 2, acid valve
G1Q1W12AV204 | CIP1, CIP-S line 2, caustic valve
G1Q1W12AV210 | CIP1, CIP-S line 2, recirculation valve
G1Q1W12AV211 | CIP1, CIP-S line 2, distribution valve
G1Q1W12AV301 | CIP1, CIP-S line 2, steam supply
G1Q1W13AV100 | CIP1, CIP-R line 3, drain valve
G1Q1W13AV102 | CIP1, CIP-R line 3, hot water valve
G1Q1W13AV103 | CIP1, CIP-R line 3, acid valve
G1Q1W13AV104 | CIP1, CIP-R line 3, caustic valve
G1Q1W13AV201 | CIP1, CIP-S line 3, fresh water valve
G1Q1W13AV202 | CIP1, CIP-S line 3, hot water valve
G1Q1W13AV203 | CIP1, CIP-S line 3, acid valve
G1Q1W13AV204 | CIP1, CIP-S line 3, caustic valve
G1Q1W13AV210 | CIP1, CIP-S line 3, recirculation valve
G1Q1W13AV211 | CIP1, CIP-S line 3, distribution valve
G1Q1W13AV212 | CIP1, CIP-S line 3, distribution valve
G1Q1W13AV213 | CIP1, CIP-S line 3, distribution valve
G1Q1W13AV301 | CIP1, CIP-S line 3, steam supply
G1Q1W14AV100 | CIP1, CIP-R line 4, drain valve
G1Q1W14AV102 | CIP1, CIP-R line 4, hot water valve
G1Q1W14AV103 | CIP1, CIP-R line 4, acid valve
G1Q1W14AV104 | CIP1, CIP-R line 4, caustic valve
G1Q1W14AV201 | CIP1, CIP-S line 4, fresh water valve
G1Q1W14AV202 | CIP1, CIP-S line 4, hot water valve
G1Q1W14AV203 | CIP1, CIP-S line 4, acid valve
G1Q1W14AV204 | CIP1, CIP-S line 4, caustic valve
G1Q1W14AV210 | CIP1, CIP-S line 4, recirculation valve
G1Q1W14AV211 | CIP1, CIP-S line 4, distribution valve
G1Q1W14AV301 | CIP1, CIP-S line 4, steam supply
G1Q2W01AV104 | CIP2, Fresh water tank, water valve
G1Q2W01AV140 | CIP2, Fresh water tank, water valve
G1Q2W03AV001 | CIP2, Acid tank, drain valve
G1Q2W03AV140 | CIP2, Acid tank, water valve
G1Q2W03AV150 | CIP2, Acid tank, acid dosing valve
G1Q2W04AV001 | CIP2, Caustic tank, drain valve
G1Q2W04AV140 | CIP2, Caustic tank, water valve
G1Q2W04AV150 | CIP2, Caustic tank, Caustic dosing valve
G1Q2W11AV100 | CIP2, CIP-R line 1, drain valve
G1Q2W11AV103 | CIP2, CIP-R line 1, acid valve
G1Q2W11AV104 | CIP2, CIP-R line 1, caustic valve
G1Q2W11AV201 | CIP2, CIP-S line 1, fresh water valve
G1Q2W11AV203 | CIP2, CIP-S line 1, acid valve
G1Q2W11AV204 | CIP2, CIP-S line 1, caustic valve
G1Q2W11AV210 | CIP2, CIP-S line 1, recirculation valve
G1Q2W11AV211 | CIP2, CIP-S line 1, distribution valve
G1Q2W11AV212 | CIP2, CIP-S line 1, distribution valve
G1Q2W11AV213 | CIP2, CIP-S line 1, distribution valve
G1Q2W11AV301 | CIP2, CIP-S line 1, steam supply
G1Q2W12AV100 | CIP2, CIP-R line 2, drain valve
G1Q2W12AV103 | CIP2, CIP-R line 2, acid valve
G1Q2W12AV104 | CIP2, CIP-R line 2, caustic valve
G1Q2W12AV201 | CIP2, CIP-S line 2, fresh water valve
G1Q2W12AV203 | CIP2, CIP-S line 2, acid valve
G1Q2W12AV204 | CIP2, CIP-S line 2, caustic valve
G1Q2W12AV210 | CIP2, CIP-S line 2, recirculation valve
G1Q2W12AV211 | CIP2, CIP-S line 2, distribution valve
G1Q2W12AV212 | CIP2, CIP-S line 2, distribution valve
G1Q2W12AV213 | CIP2, CIP-S line 2, distribution valve
G1Q2W12AV301 | CIP2, CIP-S line 2, steam supply
G1Q2W13AV100 | CIP2, CIP-R line 3, drain valve
G1Q2W13AV103 | CIP2, CIP-R line 3, acid valve
G1Q2W13AV104 | CIP2, CIP-R line 3, caustic valve
G1Q2W13AV201 | CIP2, CIP-S line 3, fresh water valve
G1Q2W13AV203 | CIP2, CIP-S line 3, acid valve
G1Q2W13AV204 | CIP2, CIP-S line 3, caustic valve
G1Q2W13AV210 | CIP2, CIP-S line 3, recirculation valve
G1Q2W13AV211 | CIP2, CIP-S line 3, distribution valve
G1Q2W13AV212 | CIP2, CIP-S line 3, distribution valve
G1Q2W13AV213 | CIP2, CIP-S line 3, distribution valve
G1Q2W13AV301 | CIP2, CIP-S line 3, steam supply
G2E1W01AV100 | Juice Mixing, Mix Tank, product inlet valve
G2E1W01AV103 | Juice Mixing, Mix Tank, cip pulse valve
G2E1W01AV104 | Juice Mixing, Mix Tank, circulation line flush valve
G2E1W01AV105 | Juice Mixing, Mix Tank, circulation line CIP-R valve
G2E1W01AV120 | Juice Mixing, Mix Tank, product inlet CIP valve
G2E1W01AV121 | Juice Mixing, Mix Tank, sight glass CIP valve
G2E1W01AV122 | Juice Mixing, Mix Tank, mixproof chamber CIP valve
G2E1W01AV130 | Juice Mixing, Mix Tank, hot water valve
G2E1W01AV140 | Juice Mixing, Mix Tank, process water valve
G2E1W01AV200 | Juice Mixing, Mix Tank, outlet valve
G2E1W01AV201 | Juice Mixing, Mix Tank, Circulation line outlet valve
G2E1W01AV202 | Juice Mixing, Mix Tank, transfer line oulet valve
G2E1W01AV203 | Juice Mixing, Mix Tank, flaker filling valve
G2E1W01AV204 | Juice Mixing, Mix Tank, CIP-R valve
G2E1W01AV205 | Juice Mixing, Mix Tank, drain valve
G2E1W05AV101 | Juice mixing, Concentrate juice, water supply valve
G2E1W05AV102 | Juice mixing, Concentrate juice, water n CIP-S valve
G2E1W05AV104 | Juice mixing, Concentrate juice, line drain valve
G2E1W05AV105 | Juice mixing, Concentrate juice, CIP-R valve
G2E1W06AV102 | Juice Mixing, Water heater, water drain valve
G2E1W06AV301 | Juice Mixing, Water heater, steam on off valve
G2E1W11AV101 | Juice mixing, Circulation line, water supply valve
G2E1W11AV102 | Juice mixing, Circulation line, Water n CIP-S valve
G2E1W12AV101 | Juice mixing, transfer line, water supply valve
G2E1W12AV102 | Juice mixing, transfer line, Water n CIP-S valve
G2E2W01AV100 | Juice storage TK1, particle inlet valve
G2E2W01AV120 | Juice storage TK1, CIP top inlet valve
G2E2W01AV121 | Juice Storage TK1, CIP sight glass valve
G2E2W01AV140 | Juice Storage TK1, process water valve
G2E2W01AV200 | Juice Storage TK1, outlet valve
G2E2W01AV201 | Juice Storage TK1, fill from mixing valve
G2E2W01AV202 | Juice Storage TK1, transfer to UHT valve
G2E2W01AV203 | Juice storage TK1, filling from crusher valve
G2E2W01AV204 | Juice Storage TK1, CIP-R valve
G2E2W01AV205 | Juice Storage TK1, drain valve
G2E2W01AV401 | Juice Storage TK1, glycol supply valve
G2E2W02AV100 | Juice storage TK2, particle inlet valve
G2E2W02AV120 | Juice storage TK2, CIP top inlet valve
G2E2W02AV121 | Juice Storage TK2, CIP sight glass valve
G2E2W02AV140 | Juice Storage TK2, process water valve
G2E2W02AV200 | Juice Storage TK2, outlet valve
G2E2W02AV201 | Juice Storage TK2, fill from mixing valve
G2E2W02AV202 | Juice Storage TK2, transfer to UHT valve
G2E2W02AV203 | Juice storage TK2, filling from crusher valve
G2E2W02AV204 | Juice Storage TK2, CIP-R valve
G2E2W02AV205 | Juice Storage TK2, drain valve
G2E2W02AV401 | Juice Storage TK2, glycol supply valve
G2E2W03AV100 | Juice storage TK3, particle inlet valve
G2E2W03AV120 | Juice storage TK3, CIP top inlet valve
G2E2W03AV121 | Juice Storage TK3, CIP sight glass valve
G2E2W03AV140 | Juice Storage TK3, process water valve
G2E2W03AV200 | Juice Storage TK3, outlet valve
G2E2W03AV201 | Juice Storage TK3, fill from mixing valve
G2E2W03AV202 | Juice Storage TK3, transfer to UHT valve
G2E2W03AV203 | Juice storage TK3, filling from crusher valve
G2E2W03AV204 | Juice Storage TK3, CIP-R valve
G2E2W03AV205 | Juice Storage TK3, drain valve
G2E2W03AV401 | Juice Storage TK3, glycol supply valve
G2E2W04AV103 | Juice Storage, Particle tank, CIP pulse valve
G2E2W04AV104 | Juice Storage, Particle tank, drain valve
G2E2W04AV105 | Juice Storage, Particle tank, CIP-R valve
G2E2W06AV103 | Juice storage, Cooler, cip pulse valve
G2E2W06AV104 | Juice storage, Cooler, line drain valve
G2E2W06AV105 | Juice storage, Cooler, CIP-R valve
G2E2W06AV401 | Juice storage, Cooler, glycol supply valve
G2E2W12AV101 | Juice storage, transfer line, water supply valve
G2E2W12AV102 | Juice storage, transfer line, Water n CIP-S valve
G2E2W12AV103 | Juice storage, transfer line, CIP pulse valve
G2E2W13AV103 | Juice Storage, Crusher filling line, CIP pulse valve
G2E2W13AV104 | Juice Storage, Crusher filling line, drain valve
G2E2W13AV105 | Juice Storage, Crusher filling line, CIP-R valve
G2E2W15AV103 | Juice storage, CIP-R, pulse valve

## RW_Sequence
TestSEQ1 | Chau len ba 2
TestSEQ2 | Chau len ba 3
TestSEQ3 | Chau len ba 4
TestSEQ4 | Chau len ba 5
TestSEQ5 | Chau len ba 6
TestSEQ6 | Chau len ba 7

## RW_Selection
Test_SEL1 | Be vao 3
Test_SEL2 | Be vao 4
Test_SEL3 | Be vao 5
Test_SEL4 | Be vao 6